Lessons Learned From PIENU
Tristan Sullivan
DND2020
on behalf of the PIENU collaboration

---
History of Experimental Measurements
Di Capua
Czapek
Aguilar-Arevalo
Britton
Anderson`
Bryman`
Previous PIENU Setup
2.9% acceptance
Red line shows theoretical value
PDG average: ~0.2% experimental precision

---
Experimental Technique
π+
π+
π+ ―> μ+ ―> e+
NPIMU / (τμ – τπ) x (e- t / τμ - e- t / τπ)
μ+
e+
e+
Target
Target
e+
Ee = 0.5-52.8 MeV
Ee = 69.8 MeV
Calorimeter
Decay Positron Time (MC)
)
π+ ―> e+
(NPIE / τπ) e- t / τπ
Decay Positron Energy (MC)

---
Detector
B1 rate 50-60 kHz
Acceptance ~ 20%
Energy Resolution 2.2% (FWHM) at 70 MeV
19 radiation lengths of NaI, 9 of CsI
One NaI crystal, 97 CsI crystals
Sub-ns time resolution from waveform fits of plastic scintillator PMTs
Pileup rejected in ~8 μs window around the pion, due to ~1 μs NaI waveform

---
Tail correction
Largest source of systematic uncertainty; required special data to be taken
B1, B2, Tg, T1, S1, S2, S3 removed from the detector
Beamline tuned for 70 MeV/c positrons
Measurements were done at 10 different angles between the beam and the crystal axis

---
Positron Beam
Low-energy
Low-energy
High-energy
High-energy
3.23% ± 0.07% of the spectrum below cutoff
Extra peaks still present, but invisible underneath tail due to shower leakage
0.55% ± 0.01% of the spectrum below cutoff
Extra peaks at 50 MeV and 58 MeV due to photonuclear reactions in 127I

---
Tail fraction as a function of angle
Errors on the right are MC statistics, errors on the left are stat + syst (mostly syst)
Plateau at small angles for PIENU events due to Bhabha scaterring upstream of calorimeter: positron flies away into the void and low-energy electron triggers. Another small acceptance problem!

---
PIENU/PEN Comparison
- PIENU had more radiation lengths of calorimeter, very good energy resolution
- PEN had much higher acceptance
- PIENU doesn’t use stopping target information

---
PIENUXe
60 cm radius liquid xenon is about the same number of radiation lengths in every direction as PIENU had for on-axis decays
Exception is decays along the beam-pipe; can use tracking around target to cut away those events
Combines advantages of PIENU and PEN:
Deep, uniform calorimeter
High acceptance
Silicon stopping target?
Fast detector response
Challenges:
Expensive (relative to PIENU)
Hard to design and operate
Need to keep material around target to a minimum while maintaining good tracking performance

---
Stopping Target Concept: LGAD
Incident beam
~15 MeV pions @ ~1 MHz
π+
y
Y layer
X layer
Image from “First Prototype of Finely Segmented HPK AC-LGAD Detectors” by Koji Nakamura, Vertex2020
x
Pion range ~ 5 mm
Muon range ~ 0.5 mm
Positron exits target and enters calorimeter
LGADs: 50 μm thick strips
Time Resolution down to 30 ps
Very fast pulses (pictured)
Can be 100 μm wide, giving good position resolution
With suitable electronics, provides dE/dx

---
Obstacles
- Physical design of detector, including cryo and cabling
- Very accurate knowledge of real detector geometry
- Pion beam with low contamination from other particles, narrow momentum bite, high flux
- Proper characterization of beamline
- Thorough measurement of detector response, both initially and ongoing
- Proper characterization of electronic noise, both initially and ongoing
- Version-controlled, unit-tested software, for both DAQ and analysis
- Robust checks of incoming physics data
- Other than that it’s easy

---
Projected Improvements
- Statistics
  - At least 10x higher beam rate
  - Acceptance higher than PIENU by factor of 7-8
  - Fast detector response will allow reconstruction of pileup events. This will give an improvement by a factor of ~5
- Systematics
  - Low-energy tail reduced by factor of 5-10
  - Reconstruction of decay verteces gives additional handle; study required to determine separation power

---
Summary
- PIENU was an incremental improvement on the previous PIENU experiment
- PIENUXe represents a great leap forward
- Medium-scale investment for significant physics reach